Highlights

Same-acquisition CT pairs isolate reconstruction effects from anatomy: 193 pairs

AI heart volume shifts 0.6% across kernels; pulmonary vein 5.0%, an 8-fold gap

Reconstructions of one scan do not share z-coverage; rho 0.70 with volume error

That false assumption was in our own prespecification, where it could not fail

Segmentation failed on 4 of 217 series, all archive faults, not model faults